**L-2 Checklist for Physics 104**

On each table, check the presence of:

2 red lenses, 1 green lens and 1 yellow lens

1 optical bench

1 PASCO light source and adapter

1 white screen

In the lab room, check the presence of:

Rulers

On each table, check for functionality:

The PASCO light source is functional

The ruler markings on the optical bench are intact and legible

The lenses fit securely onto the optical bench and can be moved with relative ease

The lenses are intact and are tightly fit in their plastic frames

The Lenses (except the yellow one) produce sharp images on the screen (for the 2 red lenses, place the screen at 45 cm and for the green lens, place the screen at 105 cm).

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **1** | **2** | **3** | **4** | **5** | **6** | **7** | **8** | **9** |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |