## How To
Equipment List.xls lists the experimental equipment used for each physics 109 labs
You can easily change information in 'Inventory' tab by using 'Form...' in Data menu
Information in 'Inventory' tab is used by all other tabs
Tabs with 'Lab #x' contain list of equipment for the lab #
Information typed in 'Unit Name' column is searched against the items in the same column in 'Inventory' tab
The matching information is displayed in '# in lab,' 'Storage Cabinet' and 'Storage Location' columns

## Inventory
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
4x5 Orthochromatic Film |  |  |  | 2331 Sterling Hall | Chamberlin Hall refridgerator / Drawer in darkroom
8x10 Photographic Paper |  |  |  | 2331 Sterling Hall | Storage Room
Acetic Acid |  |  | 2.5 lb | 2331 Sterling Hall | Storage Room
Film Developer |  |  | 1 | 2331 Sterling Hall | Storage Room
Fixer |  |  | 23 | 2331 Sterling Hall | Storage Room
Graphic Cameras |  |  |  | 2331 Sterling Hall | Storage Room
Light Meter |  |  |  | 2331 Sterling Hall | Storage Room
Permawash |  |  | 1 gal | 2331 Sterling Hall | Storage Room
Photo-Flo |  |  | 4 | 2331 Sterling Hall | Storage Room
Print Developer |  |  | 10 | 2331 Sterling Hall | Storage Room
Print Drier |  |  |  | 2331 Sterling Hall | Storage Room
Studio Light |  |  |  | 2331 Sterling Hall | Storage Room
Timpany |  |  | 1 | Behind exit door
2 m stick |  |  |  | Cables on the wall | Cables1
Banana plug cable |  |  |  | Cables on the wall | Cables1
BNC cable, 24" |  |  |  | Cables on the wall | Cables1
BNC cable, 36" |  |  |  | Cables on the wall | Cables1
BNC cable, 48" |  |  |  | Cables on the wall | Cables1
BNC cable, 60" |  |  |  | Cables on the wall | Cables1
BNC cables |  |  |  | Cables on the wall | Cables1
Power Extention Cable |  |  |  | Cables on the wall | Cables2
40 cm - 1 3/4" OD pipe |  |  | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
40 cm - 1" OD pipe |  |  | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
60 cm pipe w/o hole |  |  | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
60 cm pipe with a fingerhole |  |  | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
Microphone bias voltage supply |  |  | 10 | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Rubber bands for securing pipes |  |  |  | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Rubber plug for closed pipe experiment |  |  |  | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Sound Box/Microphone Rod |  |  | 10 | Cart (CHLOE & ZOE)
Powerbrick for lamp (12 V @ 800 mA) |  |  | 10 | Cart (YANCY) | LIGHT SOURCE POWER BRICKS (12 V @ 800 MA)
PASCO Optical Bench (w/ screen & lamp) |  |  | 9 | Cart (YANCY)
Function Generator (Krohn-Hite 1000A) |  |  | 10 | ELECTRONICS | KROHN-HITE 1000A
Strobe light |  |  | 1 | ELECTRONICS | KROHN-HITE 1000A - STROBE LIGHT
Audio Generator (Ramsey SG560) |  |  | 8 | ELECTRONICS | RAMSEY SG 560
Power Bricks for Ramsey (15 V @ 1 A) |  |  | 10 | ELECTRONICS | RAMSEY SG 560 - RAMSEY POWER BRICKES (15V @ 1A)
Frequency Counter (UW) |  |  | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
Oscilloscope (Tektronics 2213A) |  |  | 2 | ELECTRONICS | TEKTRONIX 2213A
Oscilloscope (Tektronix TDS 2002) |  |  | 10 | ELECTRONICS | TEKTRONIX TDS 2002
BNC <-> Stereo audio mini jack |  |  | 8 | ELECTRONICS ACCESSORIES | ADAPTER CABLES (2 BNC -> 1/8" STEREO)
BNC <-> banana plug |  |  | 25 | ELECTRONICS ACCESSORIES | BNC (1269)
BNC L-shape adaptor |  |  | 21 | ELECTRONICS ACCESSORIES | BNC (90 degree)
BNC <-> barrel |  |  | 21 | ELECTRONICS ACCESSORIES | BNC (BARREL)
BNC Tee |  |  |  | ELECTRONICS ACCESSORIES | BNC (T)
BNC-banana adaptor |  |  | 10 | ELECTRONICS ACCESSORIES | BNC ADAPTERS (1296)
Keyboard cables |  |  | 8 | ELECTRONICS ACCESSORIES | CABLES - KEYBOARD CABLES (MALE DIN 5 -> MALE DIN 5)
Power amplifier cable |  |  | 10 | ELECTRONICS ACCESSORIES | CABLES - POWER AMPLIFIER CABLES (MALE DIN 8 -> MALE DIN 8)
USB Cable |  |  | 8 | ELECTRONICS ACCESSORIES | CABLES - USB CABLES A -> B (WHITE)
USB Cable for Sound Interface |  |  | 9 | ELECTRONICS ACCESSORIES | CABLES - USB CABLES A->B (BLACK)
PASCO Interface cable (Black/Red) |  |  | 7 | ELECTRONICS ACCESSORIES | CABLES - VOLTAGE SENSOR CABLES
Network cable |  |  | 2 | ELECTRONICS ACCESSORIES | CAT-5 NETWORK CABLES
Loudspeaker |  |  | 11 | ELECTRONICS ACCESSORIES | LOUDSPEAKERS
Microphone |  |  | 9 | ELECTRONICS ACCESSORIES | MICROPHONES
Oscilloscope probes |  |  | 20 | ELECTRONICS ACCESSORIES | MISCELLANEOUS
Sound Interface Cable |  |  | 19 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACE CABLES (BNC -> 1/8" STEREO)
Sound Interface Device for Computer |  |  | 9 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACES
Power Strips |  |  | 8 | ELECTRONICS ACCESSORIES | POWER STRIPS
Audio <-> Stereo mini jack |  |  | 1 | ELECTRONICS ACCESSORIES | SPECIAL CABLES
Earphones/Headphones |  |  | 23 | ELECTRONICS ACCESSORIES | STEREOPHONES
BNC-RCA adaptor |  |  |  | ELECTRONICS ACCESSORIES
Headphone Volume Control |  |  |  | ELECTRONICS ACCESSORIES
Mini-RCA adaptor |  |  |  | ELECTRONICS ACCESSORIES
Function Generator (Schlumberger SG-1271) |  |  |  | General Physics lab storage
Mini compasses field detecting device |  |  |  | Lecture demo - ask Steve Narf | Magnetic domain model
Corner Reflector |  |  |  | Lecture demo - ask Steve Narf
Double pole double throw switch |  |  |  | Lecture demo - ask Steve Narf
Helmholtz coil |  |  |  | Lecture demo - ask Steve Narf
Power supply for Helmholtz coil |  |  |  | Lecture demo - ask Steve Narf
Brushes |  |  | 9 | LIGHT (LABS 13-14) | BRUSHES/STICKS
Color Samples |  |  |  | LIGHT (LABS 13-14) | COLORED PAPER
Dichroic Filters - 6 primary colors |  |  | 7 | LIGHT (LABS 13-14) | FILTER SETS
Gray Filters - 0.3 density |  |  | 24 | LIGHT (LABS 13-14) | FILTER SETS
Gray Filters - various density |  |  |  | LIGHT (LABS 13-14) | FILTER SETS
Magenta Filters |  |  | 30 | LIGHT (LABS 13-14) | FILTER SETS
Plastic Color Filters |  |  |  | LIGHT (LABS 13-14) | FILTER SETS
Paint - 3 subtractive primary colors |  |  |  | LIGHT (LABS 13-14) | PAINT
Projector Screen |  |  | 7 | LIGHT (LABS 13-14) | PROJECTOR SCREENS
Roscolux Filters |  |  | 17 | LIGHT (LABS 13-14) | PROJECTOR SCREENS
Ocean Optics Spectrophotometer |  |  | 9 | LIGHT (LABS 13-14) | SPECTROPHOTOMETERS
Spectroscope |  |  | 7 | LIGHT (LABS 13-14) | SPECTROSCOPES STAR SPECTROMETER
Spectrum Tube Power Supply |  |  | 6 | LIGHT (LABS 13-14) | SPECTRUM TUBE POWER SUPPLIES
Various Discharge Lamps |  |  | 8 | LIGHT (LABS 13-14) | SPECTRUM TUBES
Projector Controller |  |  | 7 | LIGHT (LABS 14) | PROJECTOR CONTROLLERS
Projector Adaptor |  |  | 7 | LIGHT (LABS 14) | PROJECTOR SLIDE HOLDERS
Blue Projector |  |  | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Green Projector |  |  | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Red Projector |  |  | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
White Projector |  |  | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
PASCO Aperture Disk |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - APPERTURE DISKS
PASCO Centeral Mask |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - CENTRAL MASK
PASCO Converging Lens - f=100mm (S) |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+100 MM/S)
PASCO Converging Lens - f=200mm (#1) |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+200 MM/#1)
PASCO Converging Lens - f=250mm (P) |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+250 MM/P)
PASCO Diverging Lens - f=-150mm (D) |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (-150 MM/D)
PASCO Peripheral Mask |  |  | 8 | LIGHT (LABS 9-12) | LAB #10 - PERIPHERAL MASK
He-Ne laser |  |  | 1 | LIGHT (LABS 9-12) | LAB #9
He-Ne laser support stand |  |  | 1 | LIGHT (LABS 9-12) | LAB #9 - ACRYLIC ROD SPIRAL
Optical Fiber Tube w/ clamp |  |  | 1 | LIGHT (LABS 9-12) | LAB #9 - ACRYLIC ROD SPIRAL
Circular Polarizer |  |  | 8 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Half Circule Plexiglass |  |  | 9 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Plane Mirror - 2"x2" |  |  | 10 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Parallel-face Plexiglass (in ray optics kit) |  |  | 25 | LIGHT (LABS 9-12) | LAB #9 - RAY OPTICS KITS
PASCO Ray Table |  |  | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
PASCO Ray Table Base |  |  | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
Glass plate - 12" x 12" |  |  | 1 | LIGHT (LABS 9-12) | LAB #9 12"x12" GLASS PLATE
Half-coated Mirror |  |  | 1 | LIGHT (LABS 9-12) | LAB #9 FRONT SURFACE MIRROR
Ocean Optics light source |  |  | 9 | LIGHT MISCELLANEOUS | OCEAN OPTICS LIGHT SOURCES
Ocean Optics light source power supply (12 V @ 1.5 A) |  |  | 17 | LIGHT MISCELLANEOUS | OCEAN OPTICS LIGHT SOURCES POWER SUPPLIES
Optical fiber cables for Ocean Optics spectrophotometer |  |  |  | LIGHT MISCELLANEOUS | OPTICAL FIBER CABLES
Optics table |  |  | 1 | LIGHT MISCELLANEOUS | OPTICS TABLE
Ray optics kit |  |  | 17 | LIGHT MISCELLANEOUS | RAY OPTICS KITS
Roscolux filter |  |  | 12 | LIGHT MISCELLANEOUS | ROSCO
Farnsworth-Munsell 100 Hue Test |  |  | 1 | LIGHT MISCELLANEOUS
MIRAGE optical illusion |  |  | 2 | LIGHT MISCELLANEOUS
MUNSELL COLOR TREE |  |  | 2 | LIGHT MISCELLANEOUS
Piano |  |  | 1 | look on your right!
Desk Lamp |  |  | 9 | On desk | On PASCO interface
Full size mirror |  |  | 1 | On the back of entrance door
Articles on rainbows (from textbook) |  |  |  | On the internet
Projector Screen Stand |  |  | 6 | PARTS/SUPPLIES/MISCELLANEOUS | A-BASE
Desk lamps |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - 25 W DESK LAMPS
Projector light bulbs |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - PROJECTOR LAMPS (300 W) PROJECTOR LAMPS (500 W)
Discharge lamps |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - SPECTRUM TUBES
Tape measure |  |  | 29 | PARTS/SUPPLIES/MISCELLANEOUS | MEASURING TAPES
Hooke's Law experiment |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - HOOKE'S LAW PARTS
Tapes and strings |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - TAPE & STRING
Various tools |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - TOOLS
Paint jar |  |  | 10 | PARTS/SUPPLIES/MISCELLANEOUS | PAINT JARS
Various filters for projectors |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | PROJECTOR PARTS
Parts for photography lighting |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | SMITH-VICTOR PARTS
Pendulum resonance apparatus parts |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | SOUND - PENDULUM RESONANCE PARTS
Stopwatch |  |  | 8 | PARTS/SUPPLIES/MISCELLANEOUS | STOP WATCHES
UW Keyboard Tuner |  |  | 9 | SOUND (LAB 7) | KEYBOARD CONTROLLERS
Keyboard |  |  | 10 | SOUND (LAB 7) | KEYBOARDS
Autoharpsicord |  |  | 1 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Flute |  |  | 2 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Saxophone |  |  | 1 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Recorder |  |  | 3 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC - MISC MUSICAL INSTRUMENTS
Viola |  |  | 1 | SOUND (LAB 8) | VIOLA (1) / VIOLIN (1)
Violin |  |  | 3 | SOUND (LAB 8) | VIOLINS (2) VIOLA (1) / VIOLIN (1)
Model of stereo record player pickup |  |  | 1 | SOUND (LABS 0/2) | LAB #0 -
Record album (Phonograph disc records) |  |  | 1 | SOUND (LABS 0/2) | LAB #0 -
Turntable (Record Player) |  |  | 1 | SOUND (LABS 0/2) | LAB #0 -
Beads |  |  |  | SOUND (LABS 0/2) | LAB #0 - 12" SPEAKER & PLASTIC PELLETS
Large Speaker |  |  |  | SOUND (LABS 0/2) | LAB #0 - 12" SPEAKER & PLASTIC PELLETS ASSORTED SPEAKERS
JVC A-X2 Stereo Integrated Amplifier |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - AUDIO AMPLIFIER
Battery case |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Magnet-Meter-Coil Assembly |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Permanent horse-shoe magnet |  |  | 2 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Rectangular coil |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Lumiscope |  |  | many | SOUND (LABS 0/2) | LAB #0 - MUSICAL PIPES
String phone |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - OJ CANS / SPACEPHONE
Small coil electromagnet |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - SMALL COIL ELECTROMAGNET
Red speaker coil |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - SPEAKER MODEL
Compass |  |  | 1 | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Needle-pin field detecting device |  |  |  | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Turning fork |  |  | many | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Blade apparatus |  |  | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE APPARATUSES
Magnet |  |  | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE APPARATUSES
Blade Driver/Strain Gauge Pickup |  |  | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE POWER SUPPLIES
Paper cone with needle |  |  | 2 | SOUND (LABS 0/2)
PASCO Fourier Synthesizer |  |  | 7 | SOUND (LABS 4/6) | FOURIER SYNTHESIZERS
Bridges |  |  | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - BRIDGES
Pulley |  |  | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - PULLEY
Slinky |  |  | 32 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - SLINKIES
Table clamps |  |  | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - TABLE CLAMPS
Speaker Driver |  |  | 10 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - UW Power Amplifier
Speaker |  |  | 10 | SOUND (LABS 4/6) | SPEAKER DRIVERS
Keyboard cables |  |  |  | SOUND MISCELLANEOUS | KEYBOARD CABLES
A/B Switch Box |  |  | 9 | SOUND MISCELLANEOUS | LAB #3 A/B SWITCH BOXES
Pendulum resonance apparatus |  |  | 1 | SOUND MISCELLANEOUS
Slinkies |  |  | 12 | SOUND MISCELLANEOUS
Paint mixing tray |  |  |  | Use printer paper
Lab 9: Reflection
Lab 9: Reflection & Refraction
Lab 9: Refraction
Stools for screen placement |  |  | 7
Trombone | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
French Horn | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
Double French Horn | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
Guitar | 3 |  | 3 | SOUND (LAB 8) | On top of cabinet
Trumpet | 2 |  | 2 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Bugle | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Clarinet | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Oboe | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Note on A1: yhirai: Use "form" to add new units. Then sort the result by Storage Cabinet, Storage Location and Unit Name in the order.

## Lab #0
Lab 0: Principles of Loudspeakers
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Permanent horse-shoe magnet | 2 |  | 2 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Compass | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Needle-pin field detecting device | 1 |  |  | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Mini compasses field detecting device | 2 |  |  | Lecture demo - ask Steve Narf | Magnetic domain model
Helmholtz coil | 1 |  |  | Lecture demo - ask Steve Narf
Power supply for Helmholtz coil | 1 |  |  | Lecture demo - ask Steve Narf
Double pole double throw switch | 1 |  |  | Lecture demo - ask Steve Narf
Red speaker coil | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - SPEAKER MODEL
String phone | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - OJ CANS / SPACEPHONE
Turning fork | many |  | many | SOUND (LABS 0/2) | LAB #0 - TUNING FORK SET & MISC.
Lumiscope | many |  | many | SOUND (LABS 0/2) | LAB #0 - MUSICAL PIPES
Paper cone with needle | 2 |  | 2 | SOUND (LABS 0/2)
Magnet-Meter-Coil Assembly | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Rectangular coil | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Battery case | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - MAGNET-METER-COIL ASSEMBLY
Small coil electromagnet | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - SMALL COIL ELECTROMAGNET
JVC A-X2 Stereo Integrated Amplifier | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 - AUDIO AMPLIFIER
Large Speaker | 12", others |  |  | SOUND (LABS 0/2) | LAB #0 - 12" SPEAKER & PLASTIC PELLETS ASSORTED SPEAKERS
Beads |  |  |  | SOUND (LABS 0/2) | LAB #0 - 12" SPEAKER & PLASTIC PELLETS
Microphone | 1 |  | 9 | ELECTRONICS ACCESSORIES | MICROPHONES
Model of stereo record player pickup | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 -
Turntable (Record Player) | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 -
Record album (Phonograph disc records) | 1 |  | 1 | SOUND (LABS 0/2) | LAB #0 -

## Lab #1
Lab 1: Oscillator & Oscilloscope
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Frequency Counter (UW) | 8 | 1 | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
BNC Tee | 16 | 2 |  | ELECTRONICS ACCESSORIES | BNC (T)
BNC cable, 24" | 8 | 1 |  | Cables on the wall | Cables1
Function Generator (Krohn-Hite 1000A) | 8 | 1 | 10 | ELECTRONICS | KROHN-HITE 1000A
BNC cable, 36" | 16 | 2 |  | Cables on the wall | Cables1
Oscilloscope (Tektronix TDS 2002) | 8 | 1 | 10 | ELECTRONICS | TEKTRONIX TDS 2002
Loudspeaker | 8 | 1 | 11 | ELECTRONICS ACCESSORIES | LOUDSPEAKERS
BNC cable, 48" | 8 | 1 |  | Cables on the wall | Cables1
Microphone | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | MICROPHONES
BNC cable, 60" | 8 | 1 |  | Cables on the wall | Cables1
Earphones/Headphones | 16 | 2 | 23 | ELECTRONICS ACCESSORIES | STEREOPHONES
Headphone Volume Control | 16 | 2 |  | ELECTRONICS ACCESSORIES
Mini-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
BNC-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
Oscilloscope (Tektronics 2213A) | 2 | 0 | 2 | ELECTRONICS | TEKTRONIX 2213A
Stopwatch | 8 | 1 | 8 | PARTS/SUPPLIES/MISCELLANEOUS | STOP WATCHES

## Lab #3
Lab 3: Hearing
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Oscilloscope (Tektronix TDS 2002) | 8 | 1 | 10 | ELECTRONICS | TEKTRONIX TDS 2002
Function Generator (Krohn-Hite 1000A) | 8 | 1 | 10 | ELECTRONICS | KROHN-HITE 1000A
Function Generator (Schlumberger SG-1271) |  |  |  | General Physics lab storage
Frequency Counter (UW) | 8 | 1 | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
Earphones/Headphones | 16 | 2 | 23 | ELECTRONICS ACCESSORIES | STEREOPHONES
A/B Switch Box | 8 | 1 | 9 | SOUND MISCELLANEOUS | LAB #3 A/B SWITCH BOXES
Audio Generator (Ramsey SG560) | 8 | 1 | 8 | ELECTRONICS | RAMSEY SG 560

## Lab #2
Lab 2: Simple Harmonic Oscillators - Resonance & Damped Oscillations
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Blade apparatus | 8 | 1 | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE APPARATUSES
Magnet | 8 | 1 | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE APPARATUSES
Blade Driver/Strain Gauge Pickup | 8 | 1 | 9 | SOUND (LABS 0/2) | PENDULUM RESONANCE POWER SUPPLIES
PASCO Interface cable (Black/Red) | 8 | 1 | 7 | ELECTRONICS ACCESSORIES | CABLES - VOLTAGE SENSOR CABLES
BNC-banana adaptor | 8 | 1 | 10 | ELECTRONICS ACCESSORIES | BNC ADAPTERS (1296)
BNC cable, 48" | 16 | 2 |  | Cables on the wall | Cables1

## Lab #4
Lab 4: Strings
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Slinky | 8 | 1 | 32 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - SLINKIES
Stopwatch | 8 | 1 | 8 | PARTS/SUPPLIES/MISCELLANEOUS | STOP WATCHES
Tape measure | 8 | 1 | 29 | PARTS/SUPPLIES/MISCELLANEOUS | MEASURING TAPES
Speaker | 8 | 1 | 10 | SOUND (LABS 4/6) | SPEAKER DRIVERS
Speaker Driver | 8 | 1 | 10 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - UW Power Amplifier
Power amplifier cable | 8 | 1 | 10 | ELECTRONICS ACCESSORIES | CABLES - POWER AMPLIFIER CABLES (MALE DIN 8 -> MALE DIN 8)
Banana plug cable | 16 | 2 |  | Cables on the wall | Cables1
Pulley | 8 | 1 | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - PULLEY
Bridges | 8 | 1 | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - BRIDGES
Table clamps | 8 | 1 | 8 | SOUND (LABS 4/6) | LAB #14 ACCESSORIES - TABLE CLAMPS
2 m stick | 8 | 1 |  | Cables on the wall | Cables1
Audio Generator (Ramsey SG560) | 8 | 1 | 8 | ELECTRONICS | RAMSEY SG 560
Power Bricks for Ramsey (15 V @ 1 A) | 8 | 1 | 10 | ELECTRONICS | RAMSEY SG 560 - RAMSEY POWER BRICKES (15V @ 1A)
Strobe light | 1 |  | 1 | ELECTRONICS | KROHN-HITE 1000A - STROBE LIGHT

## Lab #5
Lab 5: Pipes
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Sound Box/Microphone Rod | 8 | 1 | 10 | Cart (CHLOE & ZOE)
60 cm pipe w/o hole | 8 | 1 | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
40 cm - 1" OD pipe | 8 | 1 | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
40 cm - 1 3/4" OD pipe | 8 | 1 | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
60 cm pipe with a fingerhole | 8 | 1 | 12 | Cart (CHLOE & ZOE) | Inside Sound Box
Microphone bias voltage supply | 8 | 1 | 10 | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Rubber plug for closed pipe experiment | 8 | 1 |  | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Rubber bands for securing pipes | 16 | 2 |  | Cart (CHLOE & ZOE) | PIPES ACCESSORIES
Function Generator (Krohn-Hite 1000A) | 8 | 1 | 10 | ELECTRONICS | KROHN-HITE 1000A
Oscilloscope (Tektronix TDS 2002) | 8 | 1 | 10 | ELECTRONICS | TEKTRONIX TDS 2002
Frequency Counter (UW) | 8 | 1 | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
BNC cable, 24" |  | 1 |  | Cables on the wall | Cables1
BNC cable, 36" |  | 2 |  | Cables on the wall | Cables1
BNC cable, 48" |  | 1 |  | Cables on the wall | Cables1
BNC cable, 60" |  | 1 |  | Cables on the wall | Cables1

## Lab #6
Lab 6: Sound Analysis
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Sound Interface Device for Computer | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACES
USB Cable for Sound Interface | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | CABLES - USB CABLES A->B (BLACK)
Sound Interface Cable | 16 | 2 | 19 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACE CABLES (BNC -> 1/8" STEREO)
Loudspeaker | 8 | 1 | 11 | ELECTRONICS ACCESSORIES | LOUDSPEAKERS
Microphone | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | MICROPHONES
PASCO Fourier Synthesizer | 7 | 1 | 7 | SOUND (LABS 4/6) | FOURIER SYNTHESIZERS
Oscilloscope (Tektronix TDS 2002) | 8 | 1 | 10 | ELECTRONICS | TEKTRONIX TDS 2002
Frequency Counter (UW) | 8 | 1 | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
Function Generator (Krohn-Hite 1000A) | 8 | 1 | 10 | ELECTRONICS | KROHN-HITE 1000A
BNC <-> barrel | 16 | 2 | 21 | ELECTRONICS ACCESSORIES | BNC (BARREL)
BNC <-> banana plug | 21 | 3 | 25 | ELECTRONICS ACCESSORIES | BNC (1269)
BNC Tee | 8 | 1 |  | ELECTRONICS ACCESSORIES | BNC (T)
Earphones/Headphones | 16 | 2 | 23 | ELECTRONICS ACCESSORIES | STEREOPHONES
Headphone Volume Control | 16 | 2 |  | ELECTRONICS ACCESSORIES
Mini-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
BNC-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
BNC cable, 24" | 16 | 2 |  | Cables on the wall | Cables1
BNC cable, 36" | 16 | 2 |  | Cables on the wall | Cables1
BNC cable, 48" | 8 | 1 |  | Cables on the wall | Cables1
BNC cable, 60" | 8 | 1 |  | Cables on the wall | Cables1

## Lab #7
Lab 7: Musical Scales
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Keyboard | 8 | 1 | 10 | SOUND (LAB 7) | KEYBOARDS
UW Keyboard Tuner | 8 | 1 | 9 | SOUND (LAB 7) | KEYBOARD CONTROLLERS
Keyboard cables | 8 | 1 | 8 | ELECTRONICS ACCESSORIES | CABLES - KEYBOARD CABLES (MALE DIN 5 -> MALE DIN 5)
Oscilloscope (Tektronix TDS 2002) | 8 | 1 | 10 | ELECTRONICS | TEKTRONIX TDS 2002
Frequency Counter (UW) | 8 | 1 | 9 | ELECTRONICS | RAMSEY SG 560 - UW FREQUENCY COUNTERS
Loudspeaker | 8 | 1 | 11 | ELECTRONICS ACCESSORIES | LOUDSPEAKERS
Earphones/Headphones | 16 | 2 | 23 | ELECTRONICS ACCESSORIES | STEREOPHONES
Headphone Volume Control | 16 | 2 |  | ELECTRONICS ACCESSORIES
Mini-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
BNC-RCA adaptor | 16 | 2 |  | ELECTRONICS ACCESSORIES
BNC cable, 36" | 24 | 3 |  | Cables on the wall | Cables1
BNC cable, 48" | 8 | 1 |  | Cables on the wall | Cables1

## Lab #8
Lab 8: Musical Instruments
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Violin | 3 |  | 3 | SOUND (LAB 8) | VIOLINS (2) VIOLA (1) / VIOLIN (1)
Viola | 1 |  | 1 | SOUND (LAB 8) | VIOLA (1) / VIOLIN (1)
Autoharpsicord | 1 |  | 1 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Saxophone | 1 |  | 1 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Flute | 2 |  | 2 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC
Recorder | 3 |  | 3 | SOUND (LAB 8) | AUTOHARP (1) / SAXOPHONE (1) / FLUTES (2) / MISC - MISC MUSICAL INSTRUMENTS
Timpany | 1 |  | 1 | Behind exit door
Piano | 1 |  | 1 | look on your right!
Microphone | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | MICROPHONES
Sound Interface Device for Computer | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACES
USB Cable for Sound Interface | 8 | 1 | 9 | ELECTRONICS ACCESSORIES | CABLES - USB CABLES A->B (BLACK)
Sound Interface Cable | 8 | 1 | 19 | ELECTRONICS ACCESSORIES | MISCELLANEOUS - SOUND INTERFACE CABLES (BNC -> 1/8" STEREO)
BNC <-> barrel | 8 | 1 | 21 | ELECTRONICS ACCESSORIES | BNC (BARREL)
BNC cable, 60" | 8 | 1 |  | Cables on the wall | Cables1
Trombone | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
French Horn | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
Double French Horn | 1 |  | 1 | SOUND (LAB 8) | FRENCH HORNS (2)/ TROMBONE (1)
Guitar | 3 |  | 3 | SOUND (LAB 8) | On top of cabinet
Trumpet | 2 |  | 2 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Bugle | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Clarinet | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)
Oboe | 1 |  | 1 | SOUND (LAB 8) | BUGLE (1)/ TRUMPETS (2)/ CLARINET (1)/ OBOE (1)

## Lab #9
Lab 9: Reflection & Refraction
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Lab 9: Reflection | 9 | 1
Desk Lamp | 9 | 1 | 9 | On desk | On PASCO interface
PASCO Optical Bench (w/ screen & lamp) | 8 | 1 | 9 | Cart (YANCY)
Powerbrick for lamp (12 V @ 800 mA) | 8 | 1 | 10 | Cart (YANCY) | LIGHT SOURCE POWER BRICKS (12 V @ 800 MA)
PASCO Ray Table | 8 | 1 | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
PASCO Ray Table Base | 8 | 1 | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
Plane Mirror - 2"x2" | 8 | 1 | 10 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Full size mirror | 1 |  | 1 | On the back of entrance door
Half-coated Mirror | 1 |  | 1 | LIGHT (LABS 9-12) | LAB #9 FRONT SURFACE MIRROR
Corner Reflector | 1 |  |  | Lecture demo - ask Steve Narf
Glass plate - 12" x 12" | 1 |  | 1 | LIGHT (LABS 9-12) | LAB #9 12"x12" GLASS PLATE
Circular Polarizer | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Lab 9: Refraction
PASCO Optical Bench (w/ screen & lamp) | 8 | 1 | 9 | Cart (YANCY)
Powerbrick for lamp (12 V @ 800 mA) | 8 | 1 | 10 | Cart (YANCY) | LIGHT SOURCE POWER BRICKS (12 V @ 800 MA)
PASCO Ray Table | 8 | 1 | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
PASCO Ray Table Base | 8 | 1 | 9 | LIGHT (LABS 9-12) | LAB #9 - RAY TABLES
Half Circule Plexiglass | 8 | 1 | 9 | LIGHT (LABS 9-12) | LAB #9 - PLANE MIRRORS, D-SHAPED LENSES, CIRCULAR POLARIZERS
Parallel-face Plexiglass (in ray optics kit) | 8 | 1 | 25 | LIGHT (LABS 9-12) | LAB #9 - RAY OPTICS KITS
Articles on rainbows (from textbook) | 16 | 2 |  | On the internet
Optical Fiber Tube w/ clamp | 1 |  | 1 | LIGHT (LABS 9-12) | LAB #9 - ACRYLIC ROD SPIRAL
Lab 9: Reflection & Refraction
He-Ne laser | 1 |  | 1 | LIGHT (LABS 9-12) | LAB #9
He-Ne laser support stand | 1 |  | 1 | LIGHT (LABS 9-12) | LAB #9 - ACRYLIC ROD SPIRAL

## Lab #10
Lab 10: Lenses
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Desk Lamp | 9 | 1 | 9 | On desk | On PASCO interface
PASCO Optical Bench (w/ screen & lamp) | 8 | 1 | 9 | Cart (YANCY)
Powerbrick for lamp (12 V @ 800 mA) | 8 | 1 | 10 | Cart (YANCY) | LIGHT SOURCE POWER BRICKS (12 V @ 800 MA)
PASCO Converging Lens - f=100mm (S) | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+100 MM/S)
PASCO Converging Lens - f=200mm (#1) | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+200 MM/#1)
PASCO Converging Lens - f=250mm (P) | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (+250 MM/P)
PASCO Diverging Lens - f=-150mm (D) | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - LENSES (-150 MM/D)
PASCO Aperture Disk | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - APPERTURE DISKS
PASCO Centeral Mask | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - CENTRAL MASK
PASCO Peripheral Mask | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - PERIPHERAL MASK
Roscolux Filters | 8 | 1 | 17 | LIGHT (LABS 13-14) | PROJECTOR SCREENS

## Lab #11
Lab 11: Photography
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Graphic Cameras | 3 |  |  | 2331 Sterling Hall | Storage Room
Light Meter | 3 |  |  | 2331 Sterling Hall | Storage Room
Studio Light | 6 | 2 |  | 2331 Sterling Hall | Storage Room
4x5 Orthochromatic Film | 112 | 2 |  | 2331 Sterling Hall | Chamberlin Hall refridgerator / Drawer in darkroom
8x10 Photographic Paper | 144 | 1.5 |  | 2331 Sterling Hall | Storage Room
Film Developer | 2 |  | 1 | 2331 Sterling Hall | Storage Room
Print Developer | 1 |  | 10 | 2331 Sterling Hall | Storage Room
Fixer | 1 |  | 23 | 2331 Sterling Hall | Storage Room
Acetic Acid |  |  | 2.5 lb | 2331 Sterling Hall | Storage Room
Permawash |  |  | 1 gal | 2331 Sterling Hall | Storage Room
Photo-Flo |  |  | 4 | 2331 Sterling Hall | Storage Room
Print Drier | 2 |  |  | 2331 Sterling Hall | Storage Room

## Lab #13
Lab 13: Subtractive Color: Filters & Paint
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Desk Lamp | 9 | 1 | 9 | On desk | On PASCO interface
Ocean Optics Spectrophotometer | 8 | 1 | 9 | LIGHT (LABS 13-14) | SPECTROPHOTOMETERS
USB Cable | 8 | 1 | 8 | ELECTRONICS ACCESSORIES | CABLES - USB CABLES A -> B (WHITE)
Gray Filters - 0.3 density | 16 | 2 | 24 | LIGHT (LABS 13-14) | FILTER SETS
Magenta Filters | 24 | 3 | 30 | LIGHT (LABS 13-14) | FILTER SETS
Plastic Color Filters |  |  |  | LIGHT (LABS 13-14) | FILTER SETS
Dichroic Filters - 6 primary colors | 8 | 1 | 7 | LIGHT (LABS 13-14) | FILTER SETS
Paint - 3 subtractive primary colors |  |  |  | LIGHT (LABS 13-14) | PAINT
Paint mixing tray | 8 | 1 |  | Use printer paper
Paint jar | 8 | 1 | 10 | PARTS/SUPPLIES/MISCELLANEOUS | PAINT JARS
Brushes | 6 |  | 9 | LIGHT (LABS 13-14) | BRUSHES/STICKS
Color Samples |  |  |  | LIGHT (LABS 13-14) | COLORED PAPER
Spectrum Tube Power Supply | 8 | 1 | 6 | LIGHT (LABS 13-14) | SPECTRUM TUBE POWER SUPPLIES
Various Discharge Lamps |  |  | 8 | LIGHT (LABS 13-14) | SPECTRUM TUBES
Needs:
Dichroic Filters - 6 primary colors
Color paper supplies including:
Yellow high and low saturation
Orange
Brown
Pink
Red

## Lab #14
Lab 14: Additive Color Mixing
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Desk Lamp | 9 | 1 | 9 | On desk | On PASCO interface
White Projector | 7 | 1 | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Red Projector | 7 | 1 | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Blue Projector | 7 | 1 | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Green Projector | 7 | 1 | 7 | LIGHT (LABS 14) | SLIDE PROJECTORS
Projector Controller | 7 | 1 | 7 | LIGHT (LABS 14) | PROJECTOR CONTROLLERS
Plastic Color Filters |  |  |  | LIGHT (LABS 13-14) | FILTER SETS
Roscolux Filters | 8 | 1 | 17 | LIGHT (LABS 13-14) | PROJECTOR SCREENS
Projector Adaptor | 7 | 1 | 7 | LIGHT (LABS 14) | PROJECTOR SLIDE HOLDERS
Projector Screen | 7 | 1 | 7 | LIGHT (LABS 13-14) | PROJECTOR SCREENS
Projector Screen Stand | 7 | 1 | 6 | PARTS/SUPPLIES/MISCELLANEOUS | A-BASE
Spectroscope | 7 | 1 | 7 | LIGHT (LABS 13-14) | SPECTROSCOPES STAR SPECTROMETER
BNC L-shape adaptor | 21 | 3 | 21 | ELECTRONICS ACCESSORIES | BNC (90 degree)
BNC cable, 48" | 21 | 3 |  | Cables on the wall | Cables1
Power Extention Cable | 14 | 2 |  | Cables on the wall | Cables2
Power Strips | 7 | 1 | 8 | ELECTRONICS ACCESSORIES | POWER STRIPS
Color Samples |  |  |  | LIGHT (LABS 13-14) | COLORED PAPER
PASCO Aperture Disk | 8 | 1 | 8 | LIGHT (LABS 9-12) | LAB #10 - APPERTURE DISKS
Gray Filters - various density |  |  |  | LIGHT (LABS 13-14) | FILTER SETS
Stools for screen placement |  |  | 7

## Spares
Spare Parts
Unit Name | # used | per station | # in lab | Storage Cabinet | Storage Location
Oscilloscope probes |  |  | 20 | ELECTRONICS ACCESSORIES | MISCELLANEOUS
BNC <-> Stereo audio mini jack |  |  | 8 | ELECTRONICS ACCESSORIES | ADAPTER CABLES (2 BNC -> 1/8" STEREO)
Network cable |  |  | 2 | ELECTRONICS ACCESSORIES | CAT-5 NETWORK CABLES
BNC <-> banana plug |  |  | 25 | ELECTRONICS ACCESSORIES | BNC (1269)
BNC <-> barrel |  |  | 21 | ELECTRONICS ACCESSORIES | BNC (BARREL)
Audio <-> Stereo mini jack |  |  | 1 | ELECTRONICS ACCESSORIES | SPECIAL CABLES
Discharge lamps |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - SPECTRUM TUBES
Projector light bulbs |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - PROJECTOR LAMPS (300 W) PROJECTOR LAMPS (500 W)
Desk lamps |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | LIGHT - 25 W DESK LAMPS
Various filters for projectors |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | PROJECTOR PARTS
Parts for photography lighting |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | SMITH-VICTOR PARTS
Pendulum resonance apparatus parts |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | SOUND - PENDULUM RESONANCE PARTS
Hooke's Law experiment |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - HOOKE'S LAW PARTS
Various tools |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - TOOLS
Tapes and strings |  |  |  | PARTS/SUPPLIES/MISCELLANEOUS | MISCELLANEOUS - TAPE & STRING
Keyboard cables |  |  | 8 | ELECTRONICS ACCESSORIES | CABLES - KEYBOARD CABLES (MALE DIN 5 -> MALE DIN 5)
Slinkies |  |  | 12 | SOUND MISCELLANEOUS
Pendulum resonance apparatus |  |  | 1 | SOUND MISCELLANEOUS
MUNSELL COLOR TREE |  |  | 2 | LIGHT MISCELLANEOUS
Farnsworth-Munsell 100 Hue Test |  |  | 1 | LIGHT MISCELLANEOUS
MIRAGE optical illusion |  |  | 2 | LIGHT MISCELLANEOUS
Ray optics kit |  |  | 17 | LIGHT MISCELLANEOUS | RAY OPTICS KITS
Ocean Optics light source |  |  | 9 | LIGHT MISCELLANEOUS | OCEAN OPTICS LIGHT SOURCES
Ocean Optics light source power supply (12 V @ 1.5 A) |  |  | 17 | LIGHT MISCELLANEOUS | OCEAN OPTICS LIGHT SOURCES POWER SUPPLIES
Optical fiber cables for Ocean Optics spectrophotometer |  |  |  | LIGHT MISCELLANEOUS | OPTICAL FIBER CABLES
Roscolux filter |  |  | 12 | LIGHT MISCELLANEOUS | ROSCO
Optics table |  |  | 1 | LIGHT MISCELLANEOUS | OPTICS TABLE